## Slide 1: Brentwood Pump Station – Little Harpeth River
Brentwood Public Meeting, January 30, 2020

## Slide 2: State-Wide Data
181 of 242 (or 82%) of municipal WWTPs exceed their rated capacity in the event of a 2-year 24-hour storm (~3.4 inches)

## Slide 3: Cost of Inflow and Infiltration
Total I/I Treated: 120,000,000,000 gal/year
Average I/I Treated: 330,000,000 gal/day
Cost to Treat I/I*:
$200,000,000/year
*Based on $1.80/1,000 gallons

## Slide 4: I&I Implications
Overflows and Releases
  Public Health hazard
Degradation of Receiving Waters
  Algae  Harmful Algal Blooms (HABs)
  Increasing treatment challenges
  Diminishment of recreational opportunities and quality of life
Higher Sewer Rates
  $$$$ to pump and treat clean I&I water
  Higher maintenance costs
  Higher operational costs
Loss of System Capacity
Major Upgrades
  LARGER AND SOONER than necessary

## Slide 5
Chart: 12 Month Rolling Avg BPS [MGD] 12 Month Rolling Avg Rainfall [in]

## Slide 6
Chart: 

## Slide 8: Consent/Agreed Order #04-0347 Status
Issued Jointly to MWS and Brentwood in 2006
Aggressive and successful sewer rehab effort resulted in measured reductions in RDI&I in the Brentwood system:
  Aug 20, 2008: 50,000 gpd
  May 14, 2009: 767,000 gpd
  Dec 19, 2012: 442,000 gpd
Phase III CAP/ER submitted Sep 30, 2014
  Evaluated 4 options
    New BPS 3-MG EQ Basin  Recommended
    New Tower Park 3-MG EQ Basin
    Additional Sewer Rehab @ $1.25M/year
    Increased BPS Capacity to MWS (9+MGD12+MGD)  Not recommended

## Slide 9: Issue today
Dec 13, 2019 CAP/ER Compliance Update ltr to TDEC-DWR
  Requested extension of Order from 2018  2022 to complete BPS EQ Basin
Reply pending

## Slide 10: Housing Starts